50-Point Architectural Safety Audit

The Technical Due Diligence Standard for the Riviera Maya

Objective Reality vs. Marketing Hype

In the Riviera Maya, luxury is often a coat of paint over structural shortcuts. This audit is designed to identify the second-order effects of poor construction before they become your financial liability. We prioritize evidence over sales brochures.

## I. Structural Integrity & Foundation (The Karst Reality)

Mecánica de Suelos: Verification of the soil mechanics study.

Rebar Density & Grade: Checking for oxidation in salt air environments.

Foundation Depth: Verification that foundation reaches solid bedrock.

Structural Expansion Joints: Capability to handle thermal expansion.

Concrete Compression Tests: Review of 'ensayes de concreto' (lab results).

Cantilever Stress Marks: Hairline fracture inspection on balconies.

Roof Load Capacity: Structural integrity for rooftop pools.

Masonry Bond: Integration of columns (castillos) and beams (dalas).

## II. Water Management & Moisture Protection

Impermeabilización (Roofing): TPO/asphalt membrane vs. cheap paint.

Negative-Side Waterproofing: Groundwater seepage in basement/parking.

Window Flashings: Seal quality between frames and masonry.

Balcony Drainage: Slope calculation (pooling away from glass).

AC Condensation Lines: Gravity vs. pump-fed drainage routing.

Humidity Barrier: Moisture protection behind bathroom tiling.

Septic/Sump Pump Redundancy: Emergency pumps for elevator pits.

Efflorescence Check: White salt powder signs of rising dampness.

## III. Electrical & Mechanical Systems

Grounding System (Tierras): Physical copper grounding rod verification.

Circuit Load Balancing: High-load AC distribution testing.

Wire Gauge Audit: Correct gauge for high-draw appliances.

Outdoor Fixture Rating: Marine-grade/IP65 salt-air resistance.

Panel Access: Logical location and bilingual labeling.

Surge Protection: Whole-line 'Supresor de Picos' installation.

Elevator Brand & Service: Local parts availability (Otis/Schindler vs. Generic).

Smart Home Integration: CAT6 backbone wiring compatibility.

## IV. Plumbing & Gas Safety

Pipe Material: Pressure-tested PPR vs. standard PVC.

Hydropneumatic Pressure: Flow testing on highest floors.

Water Softening (Suavizador): Calcium protection systems.

Gas Line Ventilation: Carbon monoxide risk assessment for heaters.

Pressure Relief Valves: Boiler/heater explosion prevention.

Sewage Venting: Methane stack check to prevent 'smell-backs'.

Shut-off Valve Mapping: Individual room isolation capability.

Reverse Osmosis Ready: Under-sink filtration space/plumbing.

## V. Finishing & Architectural Detailing

Paint/Finish Quality: Chukum application vs. limestone imitation.

Tile Lippage: Floor leveling and trip hazard audit.

Joinery & Carpentry: Tropical hardwood (Tzalam/Parota) vs. MDF.

Hurricane Glass: Laminated glass thickness and impact rating.

Acoustic Insulation: Decibel testing between condo walls.

Cabinet Hardware: Stainless steel hinges vs. corrosive standard steel.

Sliding Door Tracks: Recessed/flush mounting quality.

Pool Chemistry System: Saltwater vs. chlorine ventilation.

## VI. Legal & Regulatory Foundations

Manifestación de Obra: Final 'Termination of Work' permit.

DRO Audit: Verification of the Director Responsable de Obra.

Zoning Compliance: Floor count vs. local SEDETUS regulations.

Environmental Impact (MIA): Jungle/Beach-front specific permits.

Federal Zone Status: Beachfront private property boundary audit.

Fire Safety: Smoke detector and extinguisher common area audit.

Emergency Egress: Unlocked, direct-to-street fire stairwells.

Cistern Capacity: Water storage reserves for grid outages.

Internet Infrastructure: Fiber optic last-mile connectivity.

The 'Sniff' Test: Developer track record and past project finishes.

---

Integrity Clause: This audit is an architectural assessment of visible and documented systems. It does not replace a formal structural engineering survey but identifies the red flags that standard real estate agents routinely miss.